February 11, 2015

Claude Simon

Charles Henry Properties, LLC

534 West 42nd Street

Apt 8

New York, NY  10036

C. Horos

Harleysville

Risk Service Department D-2

355 Maple Avenue

Harleysville, PA  19438

RE: Request 140808.203656, Policy 105015717, 336 East 56th Street, Ny, NY  10022

Dear  C. Horos:

In reply to yours of January 22, 2015, please note the following action plan:

- We have placed orders for 13 new smoke/co tamper proof 10 year fire alarms to be installed in all occupancy units and common areas of the building as soon as practicable upon receipt.  See attached.

- We have adjusted our maintenance plan to include the inspection of all smoke alarms in the building on a semi-annual basis.  See attached.

We will advise you upon completion of the installation.

Sincerely,

Claude Simon

President