                                                                               Charles Henry Properties, LLC

                                                                               336 East 56th Street

                                                                               New York, NY 10022

TO: NYC DEP  

RE: BROKEN METER

Quarterly bill is usually $175.00 71 gallons/day

Current bill is $595.00  382 gallons/day

There are no leaks in the building.

There is no water flowing through the pipe but the meter is registering usage.

There is no water going down the main drain.

I have pictures showing the meter registering with no water flowing through but they not in the accepted format.

Claude Simon

912 441 0062
